# Logo  Description automatically generated

# LPG Checklist and declaration

|  |
| --- |
| Company information |
| **Company name:**  | Click or tap here to enter company name. |
| **Person in Charge of Stand at Fieldays:**  | Click or tap here to enter name. |
| **Contact mobile:**  | Click or tap here to enter mobile. |
| **Site Number** | Click or tap here to enter Fieldays Site number. |
| **Will you have LPG bottles on your site?** | Choose an item. |
| *If ‘No’ is selected above, you can skip to the declaration section* |
| **LPG Maximum Quantity(Kg)** | Click or tap here to enter the maximum LPG quantity for your site. |

|  |
| --- |
| Stand checklist |
|[ ]  **No Opening to Caravan** | * No opening to Caravan or below top of cylinder:
* 1m Controlled zone for under 100kg
* 2m Controlled zone for over 100kg
* Managed by signage or barriers
 |
|[ ]  **Fire Extinguisher** | For > 50kg (1x Dry Powder with 30B Rating) or hose reel with minimum 20mm hose and adjustable nozzle within 30m of cylinders |
|[ ]  **Fall Restraint** | e.g. Chained: Restrained individually to avoid falling over |
|[ ]  **Cylinder Exchange Check:****Hoses and Regulator****Odourised/ Connection has no leaks** | Are they in good condition and fitted correctly?Is it odourised or leak detection present?Spray soapy water check for bubbles(if present, means a leak and reconnection is required) |
|[ ]  **Ventilation** | Adequate ventilation or unit available |
|[ ]  **Hazardous Atmosphere Zone (flammable vapour)**No ignition source within zone | **Zone:** 1.5m at base, 0.5 above and laterally at top of cylinder |

|  |
| --- |
| Fieldays site and emergency response |
|[ ]  **Emergency Response Procedure** | For all health and safety incidences involving LPG, you are to contact Fieldays person in charge immediately:Contact Name: Ron FlemingMobile: 027 855 1238 |

Before setting up your stand for Fieldays, all companies using LPG Supply must ensure that the Exhibition site and any Employee of the Company or any Subcontractors engaged by the Company - who will work on our premises or other workplaces, are conversant with:

* Emergency procedures (to be followed in the event of an emergency).
* Safety rules and procedures as per our Policy documents.
* Hazards which have been identified, and the hazard controls as per checklist

Fieldays management retain the right to inspect and review the contract operation at any time, to ensure all safety procedures and rules are being followed. Failure to follow such rules and procedures may result in a range of responses up to, and including, immediate termination of the contract.

**Declaration:**

I Click or tap here to enter your name.

from Click or tap here to enter company name. agree to abide by all the above conditions

Signature Print and sign, or paste digital signature here.

Date Click or tap to enter a date.

Phone & email Click or tap here to enter text.